Hurricane Gustav Situation Report # 4

September 3, 2008 (10:00 AM EDT)

http://www.oe.netl.doe.gov/emergency_sit_rpt.aspx

Summary

Total state customers are based on 2006 EIA Customer Data.

Note: due to a large number of service providers, including investor owned utilities and cooperatives, the number of customer outages reported may not be comprehensive.

Source:

Crude Oil and Natural Gas Production Data from Minerals Management Service.

Refinery Status confirmed by company or on company web site and through various trade press sources.

* % capacity out represents percent of production capacity in the Gulf of Mexico.

Highlights:

- In the States of Arkansas, Louisiana and Mississippi, as of approximately 9:00 AM EDT September 3, 2008, there are 1,329,878 customers reported without power, including 1,171,574 in Louisiana, 64,277 in Mississippi, and 94,027 in Arkansas.

- Entergy reports that as of 11:30 PM September 2, 2008, the timeline for full restoration remains uncertain but could take several weeks due to extensive damage and difficulty in accessing affected areas. Continued bad weather also is preventing damage assessment by air. Entergy reports that 13 of the 14 transmission lines serving the New Orleans metropolitan area are out of service due to the storm.

- As of 9:30 AM EDT September 3, the Louisiana Offshore Oil Port (LOOP) onshore and offshore operations remain suspended. According to LOOP personnel, the company is currently performing damage assessments.

- According to the Association for Oil Pipelines, the Capline and LoCap crude lines and Centennial pipeline remain shut down. The Colonial and Plantation pipelines, which supply the East Coast, are both operating at reduced rates. See list of pipelines in table below.

- As of 12:00 PM EDT, September 2, the Sabine Pipeline reports that personnel are currently performing on-site assessments at the Henry Hub and on the Sabine mainline system.  The force majeure declared by Sabine Pipeline on August 31 has not been lifted and all facilities connected to the system remain shut-in, including the Henry Hub operations.

- As of this morning, September 3, Entergy’s Waterford 3 and River Bend nuclear power plants remain shut down.  Personnel at both plants are performing site assessments and working closely with the Nuclear Regulatory Commission and Federal Emergency Management Agency to determine a timeline for restart.  Entergy completed a controlled shut down of its Waterford 3 Nuclear Plant near New Orleans on August 31, 2008 at 11:30 PM EDT. At 6:00 PM EDT September 1, 2008, the River Bend Nuclear Plant in St. Francisville, LA was also taken offline with a controlled shut down.

- As of 6:00 PM EDT September 2, the Strategic Petroleum Reserve (SPR) facilities at Bryan Mound, TX and Big Hill, TX are fully operational. The SPR facility in West Hackberry, LA, has electricity and has sustained no structural damage.  The SPR facility in Bayou Choctaw, LA, remains shut down due to lack of power.

- As of 8:30 AM EDT, the Lake Charles/Calcasieu Channel are open with restrictions to 33 feet draft.  As of 2:00 PM EDT, September 2, 2008, Port Arthur and Sabine Channel in Texas and Panama City in Florida were opened and operate normally. All other ports from New Orleans, LA east to Pensacola, FL are still closed including Port Fourchon, Pascagoula, and Gulfport.  The U.S. Army Corps of Engineers is performing depth surveys.  Over 200 miles of the Mississippi River from Harvey Canal Lock in New Orleans to Baton Rouge and the Gulf Inter-coastal Waterway from New Orleans to Pensacola remain closed.  As of 8:50 AM EDT September 2, 2008, the Houston, Galveston/Texas City, and Freeport Ships Pilots Associations resumed operations for the Houston Ship Channel, Texas City/Galveston, and Freeport.

ESF 12 Actions:

- ESF-12 personnel are staffing the FEMA Region VI Regional Response Coordination Center (RRCC) in Denton, TX, FEMA Region VI Joint Field Office (JFO) in Baton Rouge, LA, the FEMA Region IV RRCC in Atlanta, GA, the FEMA Region III RRCC in Philadelphia, PA and the National Response Coordination Center (NRCC) in Washington, DC. The FEMA Region VI Austin Interim Operation Facility has been demobilized.

Situation Report Detail

Petroleum & Gas Information

Source:   Minerals Management Service

- As of 12:30 PM EDT, September 2, 2008, the Minerals Management Service (MMS) reports 7,062 million cubic feet per day of the Gulf’s natural gas production remains shut-in, equivalent to 95.4 percent of the Gulf production. MMS reports 1,300,000 barrels/day of the Gulf’s crude production remains shut-in, equivalent to 100 percent of the Gulf’s crude production. A total of 632 production platforms, or 88.2 percent of the Gulf’s 717 manned platforms, have been evacuated. Personnel from 110 rigs, representing 90.9 percent of those operating in the region, had been removed.

- Companies are currently assessing damage to their Gulf of Mexico production facilities, refineries, pipelines, and terminals in the wake of the storm.  Ramp up schedules will vary at each facility.

- As of 3:00 PM EDT September 2, 2008, thirteen refiners are shut down, totaling 2.5 million barrels per day of capacity.  Ten refineries in the Gulf Coast region also reduced runs. See table below.

- Plantation pipeline is experiencing loss of power at its Baton Rouge facility with more than half of the flow along the line reduced.  Petroleum product flow from Collins, MS and Chevron’s Pascagoula refinery is unaffected.

- Colonial's main distillate line between Houston and Greensboro resumed service Tuesday morning after being idle for several hours due to a lack of supply.  The main gasoline line continues to operate at reduced rates as do stub lines on the Colonial system. Colonial is assessing damage at three pumping stations impacted by Gustav -- Krotz Springs, Baton Rouge and Felixville -- in central Louisiana.

Note: The table does not include all refineries in the PADD III, Gulf Coast Region.

Sources:  Confirmed by company or on company web site. Various trade press sources.

Source: Status of pipelines from Association of Oil Pipe Lines; Capacity data from company web sites.

- As of 1:30 PM EDT, September 2, there have been no reports of any significant damage to natural gas pipeline or production infrastructure. Many natural gas pipelines are in the process of accessing the conditions of their systems and are in communications with the downstream gas processing plants where relevant. In addition, many of the Gulf Coast area compressor stations along these pipelines are operating on emergency backup generators as commercial electric power is unavailable.  Some producers reported yesterday (September 2) that personnel were scheduled to fly over and inspect the facilities for potential damage offshore on September 3, 2008.

- Sixteen out of the thirty-one major natural gas processing plants that were shut down have reported no major damage to their facilities and expect to start once natural gas flow begins.  As of Tuesday, September 2, the remaining processing plant operators are on stand-by, waiting for evacuation orders to be lifted in order perform the detailed inspections on their systems.  In total, 16.1 billion cubic feet per day of natural gas processing capacity was shut down due to Hurricane Gustav.

- None of the liquefied natural gas (LNG) import terminals located in the Gulf Coast region reported any major damage upon personnel returning to the facilities, however more complete inspections will occur in the next few days before operations resume

Source: Informational postings from company web sites.

Electricity Updates:

| Louisiana: |  |
| --- | --- |
| As of: | 9/3/2008 9:00 AM EDT |  |

Total state and utility customers are based on 2006 EIA Customer Data; Electric Cooperative customer totals provided by Louisiana Public Service Commission.

Note: due to a large number of service providers, including investor owned utilities and cooperatives, the number of customer outages reported may not be comprehensive.

| Mississippi: |  |
| --- | --- |
| As of: | 9/3/2008 8:00 AM EDT |  |

Total state and utility customers are based on 2006 EIA Customer Data.

Note: due to a large number of service providers, including investor owned utilities and cooperatives, the number of customer outages reported may not be comprehensive.

Restoration Updates:

- Entergy reports that as of 11:30 PM September 2, 2008.  The timeline for full restoration remains uncertain but could take several weeks due to extensive damage and difficulty in accessing affected areas.  Continued bad weather also is preventing damage assessment by air. Entergy has more than 10,000 workers from more than 25 states restoring service to the system.

- Entergy is reporting extensive damage to its transmission system in Louisiana, with 191 transmission lines and 210 substations out of service, 40 percent of the transmission lines and 27 percent of the substations in the affected area. Entergy reported that 13 of the 14 transmission lines serving the New Orleans metropolitan area are out of service due to the storm. This islands the New Orleans metropolitan area and a corridor along the Mississippi River between New Orleans and Baton Rouge, cutting the electrical connection to the rest of the Entergy grid. This “island” is south of Lake Pontchartrain and includes Orleans, Jefferson, St. Bernard, St. James, St. John the Baptist, St. Charles and upper Plaquemines parishes. Entergy is carefully managing the restoration process in the affected area. Entergy has experienced extensive distribution system damage, which will be repaired in parallel with the transmission. Entergy continues restoring service to emergency facilities in the affected area.

- Entergy’s Waterford 3 Nuclear Plant near New Orleans and the River Bend Nuclear Station were brought offline Sunday and Monday respectively and currently remain offline.  Personnel at both plants are performing site assessments this morning and working closely with the Nuclear Regulatory Commission and Federal Emergency Management Agency to determine a timeline for restart.

- Damage to electric cooperatives in the region was extensive. Crews from across the country are being called in to assist in restoration. Full restoration is expected to take several weeks.

- The Electric Power Association of Mississippi reports that emergency work forces of more than 1,700 people are assisting with the restoration effort.

- Mississippi Power reports that it expects full restoration of power to customers by Friday, September 5.

- CLECO has secured more than 2,500 line mechanics, tree trimmers and transmission line crews to assist after the storm. Southwestern Electric Power Company has crews in place to begin restoration.

- SERC is reporting that 142 lines remain out including 6 500-kV lines.  Two nuclear plants are both out (Waterford and Riverbend), but both sites now have offsite power.  Six other generators remain out totaling 2600 MW. Entergy is working to re-synch the electrical island in southeastern Louisiana.