U.S. DEPARTMENT OF ENERGY

Office of Electricity Delivery and 
Energy Reliability

ENERGY ASSURANCE DAILY

September 15, 2005

## Highlights/Major Developments

Hurricane Ophelia

OFFICE OF ELECTRICITY DELIVERY AND ENERGY RELIABILITY (OE)

U.S. DEPARTMENT OF ENERGY

Hurricane Ophelia Situation Report #2

September 15, 2005 (10:30 AM EDT)

HIGHLIGHTS

Total outages due to Hurricane Ophelia in North Carolina are 79,849 with 46,200 from Progress Energy (5:00 AM 9/15) and 33,470 from NC Electric Cooperatives. Dominion North Carolina Power has also reported 179 customer outages. Progress Energy expects to be in a full restoration mode by noon today.

NOAA reported at 9:00 AM this morning that Hurricane Ophelia is moving slowly over the North Carolina Outer Banks. The center of the hurricane at 7:00 AM was located about 30 miles south-southwest of Cape Hatteras, North Carolina. Ophelia is moving erratically toward the east-northeast at nearly 6 miles per hour, and the center is forecast to remain just offshore from the North Carolina Outer Banks. Maximum sustained winds have decreased slightly to 80 MPH with higher guests. Ophelia is a Category One hurricane and a gradual weakening should begin later today. Hurricane force winds extend outward up to 40 miles from the center and tropical storm winds extend outward up to 140 miles. The hurricane is expected to produce additional rainfall accumulations of 3 to 5 inches over portions of extreme eastern North Carolina with maximum storm total amounts of 15 inches possible. http://www.nhc.noaa.gov/text/refresh/MIATCPAT1+shtml/151202.shtml

ELECTRICITY INFORMATION

Progress Energy has mobilized more than 900 Progress Energy and contract line and service and tree personnel to restore power. This includes 600 additional personnel mobilized to support the regular workforce along the coast. In addition, hundreds of Progress Energy employees are supporting the crews. Progress Energy reports the following outages by county:

| County | Progress Energy Customers w/o Power |
| --- | --- |
| Brunswick | 1,718 |
| Carteret | 14,016 |
| Craven | 3,095 |
| New Hanover | 21,379 |
| Onslow | 1,779 |
| Pender | 2,781 |

Update: Hurricane Katrina

OFFICE OF ELECTRICITY DELIVERY AND ENERGY RELIABILITY (OE)

U.S. DEPARTMENT OF ENERGY

Hurricane Katrina Situation Report #36

September 15, 2005 (2:00 PM EDT)

HIGHLIGHTS

Currently, 341,935 customers remain without electric power in Louisiana and Mississippi due to Hurricane Katrina. This is down by over 2.3 million from a peak of 2.7 million customers that were without power after Hurricane Katrina struck the region.

On September 14, the Federal Motor Carrier Safety Administration extended the driver-hour waiver for motor carriers hauling gasoline, propane, diesel, jet fuel, natural gas/CNG, and ethanol in the Southern and Eastern regions of the country in response to fuel supply circumstances resulting from Hurricane Katrina and to EPA’s recent extended fuel waiver. The waiver will expire on October 5, 2005.

The DOE Energy Information Administration reported (9/14/05) that gasoline demand is estimated at 8.63 million barrels per day for the week ending 9/9/05, down 4.3 percent from the week before and 6.5 percent less than the comparable week in 2004. Gasoline demand fell 4 percent for the week that ended Sept. 2. U.S. commercial crude oil inventories (excluding those in the Strategic Petroleum Reserve) fell by 6.6 million barrels from the previous week. At 308.4 million barrels, U.S. crude oil inventories remain above the upper end of the average range for this time of year. Total motor gasoline inventories rose by 1.9 million barrels last week, putting them at the bottom end of the average range. Distillate fuel inventories decreased by 1.1 million barrels last week and are above the upper end of the average range for this time of year. http://www.eia.doe.gov/pub/oil_gas/petroleum/data_publications/weekly_petroleum_status_report/current/txt/wpsr.txt

On 9/13, EPA extended the diesel waiver for States located in PADD 1 (DC, ME, NH, VT, MA, RI, CT, NY, NJ, PA, MD, DE, WV, VA, NC, SC, GA, and FL) and PADD 3 (NM, TX, LA, MS, AL, and AR), including Tennessee to allow the use of high sulfur diesel for on-road use until October 5, 2005.

PETROLEUM AND GAS INFORMATION

According to MMS reports on 9/15, 10.26 percent of 819 manned platforms and 1.49 percent of 134 rigs remain evacuated in the Gulf of Mexico (GOM). Today’s shut-in oil production is 842,091 barrels of oil per day. The shut-in oil production is equivalent to 56.1 percent of the normal daily oil production in the GOM, which is currently approximately 1.5 million barrels of oil per day. Shut-in gas production is 3.411 billion cubic feet per day. This shut-in gas production is equivalent to 34.1 percent of the normal daily gas production in the GOM, which is currently approximately 10 billion cubic feet per day. According to MMS, approximately 35 percent of shut-in oil is as a result of problems with onshore infrastructure.

- 

- Improvement in GOM Shut-in Oil and Gas 8/30/05 – 9/15/05

| Date | Percent of GOM Oil Shut-in | Percent of GOM Gas Shut-in |
| --- | --- | --- |
| August 30 | 95.20 | 87.99 |
| August 31 | 91.45 | 83.46 |
| September 1 | 90.43 | 78.66 |
| September 2 | 88.53 | 72.48 |
| September 3 | 78.98 | 57.80 |
| September 4 | No data reported | No data reported |
| September 5 | 69.57 | 54.13 |
| September 6 | 58.02 | 41.06 |
| September 7 | 57.37 | 40.36 |
| September 8 | 60.12 | 40.20 |
| September 9 | 59.88 | 38.29 |
| September 10 | 59.84 | 38.21 |
| September 11 | No data reported | No data reported |
| September 12 | 57.38 | 37.84 |
| September 13 | 56.45 | 37.20 |
| September 14 | 56.25 | 35.18 |
| September 15 | 56.14 | 34.11 |

Entergy reports that they have activated gas supply to Folgers (coffee) and NASA, both key industrial customers in New Orleans East. Entergy Gas Operations has performed assessments in the Carrollton, Broadmoor and Downtown areas where flood waters have receded. Restoration to approximately 30 percent of the area that was dry is complete. The area assessed in Carrollton is bounded by Claiborne Ave. to the Palmetto, and Orleans-Jefferson Parish line to Carrollton. Meters are being shut off and secured. Entergy continues to make detailed leak survey assessments in Algiers (where gas is fully restored) and no leaks have been found. This same shut-and-lock process is ongoing in the French Quarter where the company reports that progress is being slowed due to locked doors and alley gates. They are working with the French Quarter Municipal Council, police and fire officials to coordinate gaining access to shut off and lock gas services. The gas system in this area has extensive water intrusion which will require the shut off of service and mitigation before gas service can be resumed.

The Coast Guard and its industry partners have established a Joint Information Center to support the response to seven major oil spills in the southern Louisiana area following Hurricane Katrina.

The Port of New Orleans has opened to commercial traffic with two of the port's 27 terminals now open. On 9/14 the first vessel left the port in more than two weeks.

See the attached tables of natural gas pipelines and processing plants located on the Gulf Coast.

Natural Gas Transmission Pipeline Status (9/13/05 PM)

| Pipeline | Primary Markets | Capacity (MMcfd) | Impacts |
| --- | --- | --- | --- |
| ANR Pipeline | Midwest | 6,414 | None reported |
| Florida Gas Transmission | Florida | 2,150 | 10% overage limit (9/13/2005) |
| Gulf South | Gulf States | 2,750 | Allocations in categories other than Primary Firm service |
| Southern Natural Gas | Southeast | 3,296 | 550 mmcfd production shut in |
| Tennessee Gas | Northeast | 6,937 | 700 mmcfd production shut in |
| Texas Eastern Transmission | Northeast | 5,939 | Deliveries allowed only for confirmed receipts |
| Trunkline Gas | Midwest, East Coast | 1,500 | Deliveries allowed only for confirmed receipts |
| Transco | Northeast | 8,100 | None Reported |
| Gulfstream | Florida | 1,100 | Deliveries allowed only for confirmed receipts |

Natural Gas Processing Plant Status (9/13/05)

| Natural Gas Processing Plant | State | Capacity as of Jan 1, 2005 (MMcfd)* | 2004 Average Throughput (MMcfd)** | Current Status |
| --- | --- | --- | --- | --- |
| Dynegy - Yscloskey | LA | 1,850 | 1,343 | Seawater damage. Could take 3-6 months to repair. |
| Dynegy – Venice | LA | 1,300 | 997 | Seawater damage. Could take 3-6 months to repair. |
| Enterprise Products – Toca | LA | 1,100 | 468 | Assessment ongoing. |
| BP – Pascagoula | MS | 1,000 | 768 | Power restored. Waiting for pipelines to deliver gas. |
| ExxonMobil – Garden City | LA | 630 | NA | Waiting on power |
| Duke Energy – Mobile Bay | AL | 600 | 172 | Available for service but waiting on pipeline outlet for liquids. |
| Marathon – Burns Point | LA | 200 | 60 | Waiting on power |
| ExxonMobil – Grand Isle | LA | 115 | 72 | Waiting on power |

The tables below show no change in the five shutdown refineries and company confirmation of status of two refineries with reduced runs.

Table 1. Shutdown Refineries

| Refinery | Location | State | Capacity (bbl/day) | Current Status |
| --- | --- | --- | --- | --- |
| ConocoPhillips* | Belle Chasse | LA | 247,000 | No power - major damage |
| ExxonMobil | Chalmette | LA | 187,200 | No power - water damage |
| Murphy | Meraux | LA | 120,000 | No power – water is starting to recede, currently making assessment of damage, leaking crude oil tank repaired |
| Shell Chemical | St Rose | LA | 55,000 | Operating at full capacity |
| ChevronTexaco* | Pascagoula | MS | 325,000 | Damage unknown – assessment being made |

# Table 2. Refineries with Reduced Runs

| Refinery | Location | State | Capacity (bbl/day) | Current Status |
| --- | --- | --- | --- | --- |
| Motiva (Shell) | Norco | LA | 226,500 | Operating at almost 100% capacity |

ELECTRICITY INFORMATION

### STATE OUTAGE DATA

| Utility | Customers w/o Power | % Customers w/o Power from Katrina |
| --- | --- | --- |
| Louisiana* | 283,231 | 28% |
| Mississippi | 58,704 | 4% |

*Louisiana data is reported by the Louisiana Public Service Commission and their percentage outage numbers are used in calculating the percentage of total outage.

STATE REPORTS

Mississippi and Louisiana

In Louisiana 283,231 customers remain without power, as reported by the Louisiana Public Service Commission (LAPSC) (11:00 PM 9/15/05 latest report).

Louisiana Outage Data by Utilities with Significant Outages (11:00 AM 9/15/05)

| UTILITY | OUTAGES | % customers w/o power |
| --- | --- | --- |
| Entergy Louisiana | 69,628 | 15% |
| Entergy New Orleans | 166,932 | 81% |
| Wash-St. Tammany | 21,539 | 47% |
| CLECO | 24,770 | 31% |
| Total for state shown includes companies with low percentage outages not shown in the Table | 283,231 | 26% |

*Louisiana data and percentages are reported by the Louisiana Public Service Commission.

As of reporting 9/15/05 Mississippi had 58,704 customers without power, which represents 4 percent of customers in the state, including 19,426 Mississippi Power customers and 39,278 customers of the Electric Power Associations of Mississippi (EPAOFMS).

Entergy Transmission reports 32 lines and 26 substations out of service as of 5:00AM 9/14/05. In New Orleans East, four additional substations were brought online: Michoud, NASA, Gentilly, and Bayou Sauvage.

Entergy reports that the repair or replacement of flooded substations will delay restoration of transmission service to several key loads, including refineries downstream of New Orleans, but customers have extensive damage as well. In flooded areas the safety of customer’s facilities must be validated by the applicable local authorities before service can be restored. The repair and inspection of customer facilities may constrain restoration in some areas.

The following table documents the electricity restoration for Louisiana utilities from August 30 – September 15:

| Date | Outages by Utility | Total: All Utilities |
| --- | --- | --- |
|  | CLECO | DEMCO | EGSI | ELI | ENOI | SLECA | WST |  |
| Tues | 8/30 | 80,810 | 40,115 | 97,376 | 420,711 | 201,369 | 13,912 | 45,000 | 899,293 |
| Wed | 8/31 | 79,672 | 29,411 | 76,681 | 421,390 | 215,163 | 13,912 | 45,000 | 881,229 |
| Thur | 9/1 | 79,672 | 20,652 | 51,277 | 391,118 | 200,751 | 13,912 | 45,000 | 802,382 |
| Fri | 9/2 | 80,800 | 18,740 | 36,004 | 349,816 | 200,771 | 362 | 45,000 | 731,493 |
| Sat | 9/3 | 77,600 | 10,039 | 6,440 | 294,526 | 200,751 | 362 | 45,000 | 634,718 |
| Sun | 9/4 | 74,800 | 10,039 | 1,362 | 258,861 | 200,751 | 362 | 45,000 | 591,175 |
| Mon | 9/5 | 72,200 | 8,264 | 420 | 261,812 | 200,749 | 362 | 44,799 | 588,606 |
| Tues | 9/6 | 65,800 | 1,533 | 35 | 211,101 | 197,749 | 362 | 43,909 | 520,489 |
| Wed | 9/7 | 60,066 | 1,533 | 0 | 186,653 | 184,383 | 362 | 43,909 | 476,906 |
| Thur | 9/8 | 54,027 | 1,533 | 0 | 169,112 | 182,152 | 362 | 40,650 | 447,836 |
| Fri | 9/9 | 49,650 | 1,533 | 0 | 157,354 | 181,645 | 362 | 40,650 | 431,194 |
| Sat | 9/10 | 41,894 | 1,533 | 858 | 136,670 | 179,522 | 362 | 36,050 | 396,889 |
| Sun | 9/11 | 31,897 | 1,533 | 502 | 110,291 | 176,644 | 362 | 31,650 | 352,879 |
| Mon | 9/12 | 27,058 | 0 | 273 | 93,757 | 176,124 | 362 | 28,669 | 326,243 |
| Tues | 9/13 | 27,058 | 0 | 93 | 93,379 | 173,605 | 362 | 26,019 | 320,516 |
| Wed | 9/14 | 24,770 | 0 | 3 | 69,628 | 166,932 | 362 | 21,539 | 283,231 |
| % Back in Service | 69% | 100% | 100% | 85% | 19% | 97% | 52% | 74% |

Additional Information

Hurricane Katrina
Evacuation and Production Shut-in Statistics Report
as of Thursday, September 15, 2005

Next Report will be issued on Friday, September 16, 2005 at 1:00 PM CDT   
For information concerning the storm click on www.mms.gov

This survey reflects 54 companies’ reports as of 11:30 a.m. Central Daily Time.

| Districts | Lake Jackson | Lake Charles | Lafayette | Houma | New Orleans | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Platforms Evacuated | 0 | 0 | 0 | 2 | 82 | 84 |
| Rigs Evacuated | 0 | 0 | 0 | 0 | 2 | 2 |
| Oil, BOPD Shut-in | 0 | 620 | 1,122 | 61,787 | 778,562 | 842.091 |
| Gas, MMCF/D Shut-In | 0 | 22.00 | 3.00 | 447.79 | 2,938.05 | 3,410.84 |

These cumulative numbers reflect updated production numbers from all previous reports.  The reports only represent input received by 11:30 a.m. CDT.  If a company does not report by 11:30 a.m. it is not included in the special information release, but it is included in the cumulative shut-in production. This may result in an apparent increase in the cumulative report amount.

### Coast Guard Forms Task Force

The U.S. Coast Guard announced today the formation of a Maritime Recovery and Restoration Task Force to assist incident commanders engaged in Hurricane Katrina relief efforts.  The task force will use quantifiable data to measure short-term recovery and long-term restoration in the areas of waterways management, critical infrastructure and the environment.

http://www.uscgstormwatch.com/external/index.cfm?cid=1008&fuseaction=EXTERNAL.docview&documentID=83461

Two Maritime Administration Ships Supplying Power to Port of New Orleans

Two of the Department of Transportation’s Maritime Administration ships are supplying additional generator power for New Orleans port activities. http://www.neworleanscvb.com/static/index.cfm/action/group/contentID/256/sectionID/1/subsectionID/0

Entergy Working to Restore Power to Accommodate Relief Workers

The New Orleans Convention and Visitor’s Bureau is working with Entergy to reconnect properties to serve as temporary accommodations for workers.

http://www.neworleanscvb.com/static/index.cfm/action/group/contentID/256/sectionID/1/subsectionID/0

Electricity

Update -Severe Winds in Wisconsin, 55,000 Still Without Power September 14, Storm Also Affected Michigan, Illinois

We Energies reported that 55,000 customers in Waukesha County and the northern suburbs of Milwaukee were still without power Wednesday night.  The company hopes to have all electricity restored by Saturday morning.  About 3,000 in Green Bay were also without power Wednesday night.

On Tuesday, in Michigan, 3,000 Cherryland Electric customers and nearly 14,000 Great Lakes Energy customers were without power.  By Wednesday that had been reduced to 2,200 customers.

In Illinois, about 40,000 Commonwealth Edison customers were without power Tuesday night.  Power was expected to be restored to all customers by the end of Wednesday.

http://www.gazetteextra.com/wx_poweroutages091505.asp

http://www.record-eagle.com/2005/sep/15storms.htm

http://www.beloitdailynews.com/articles/2005/09/15/news/news04.txt

### TXU’s Martin Lake Unit 1 Shut, Seen Back Soon

The 750 MW coal-fired unit 1 and TXU’s Martin Lake generating facility shut on September 15 to repair a boiler tube leak.  The company expects that the unit shoud be back in service on September 16.

Reuters 8:47, September 15, 2005.

### Update – Entergy’s Waterford Unit 3 Ramps Up to 97 Percent from 68 Percent

Reuters 7:17, September 15, 2005.

### Update – Exelon’s Dresden Unit 2 Ramps Up to 34 Percent from 6 Percent

Reuters 7:17, September 15, 2005.

### OPG’s 490 MW Coal-fired Nanticoke Generation Plant in Ontario Shut September 15

Reuters 13:33, September 15, 2005.

Petroleum

### OPEC Sees Mars Platform Out Until Mid 2006

OPEC, in a monthly report indicates that the Shell Mars platform in the Gulf of Mexico is not likely to resume production until the third quarter of 2006.  Shell declined comment other than to point to its statement of September 9 that said that restoration of production from some facilities might not be feasible during the fourth quarter of this year.

Reuters 7:35, September 15, 2005.

### Senate Introduces Legislation Encouraging Refinery Expansion

Republican Sen. John Kyl from Arizona introduced legislation offering tax breaks to companies that build new or upgrade existing refineries.  The new bill would allow companies in the first year of operation to write off the cost of building a new refinery, rebuilding a refinery destroyed by Katrina, or adding new equipment to an existing refinery, increasing output by over 5%.  The bill also provides incentives for companies to improve existing facilities to refine sour crude.

Oil Daily, September 15, 2005

### House of Representatives Working on Refinery Legislation

Some Republican members of the House Energy and Commerce Committee are working to draft legislation to boost U.S. refining capacity, others are drafting legislation designed to expand oil and gas exploration along the Gulf Coast.

http://pro.energycentral.com/professional/news/gas/news_article.cfm?id=5947425

### Repairs Underway at ExxonMobil Chalmette Refinery

Exxon Mobil continues to assess damage at its 190,000 b/d Chalmette refinery in Louisiana even as the company is setting up housing and arranging for supplies for the work crews.

Reuters 13:40, September 15, 2005.

### Gasoline Waivers Extended Beyond September 15

Due to supply constraints seen after Hurricane Katrina, the EPA is extending temporary waivers from gasoline standards to several states.  Arizona’s waiver was extended until September 30, California’s until October 3, and Texas’ until October 1.  The EPA Administrator also stated that further extensions could be granted if deemed necessary.

Oil Daily, September 15, 2005

### Update-Three Los Angeles Ares Refineries Affected by Monday’s Power Outage

ConocoPhillips said on Tuesday that its 139,000 barrel per day (b/d) refinery was returning to “full operations”.  Valero was restarting some units at its 78,000 b/d refinery on Tuesday, but its fluid catalytic cracking unit would not restart until Wednesday. At Shell’s 100,000 b/d refinery, some units were operating on Tuesday, with full operations expected by week end.

Oil Daily, September 15, 2005

Reuters 12:26 September 15, 2005

For additional information on petroleum, see Highlights/Major Developments

Natural Gas

### Update – Apache Damage Assessment

Apache Corp has brought back 81% of its natural gas production and 65% of oil production in the Gulf of Mexico, but estimates that up to 60 MMcf/d of gas production and 20,000 b/d of oil production could be shut-in for up to a year.

Source: NGI's Daily Gas Price Index

http://intelligencepress.com/

http://biz.yahoo.com/ap/050915/apache_katrina.html?.v=1

### FERC Authorizes Replacement of Northwest Pipeline System

FERC gave final approval to Williams to construct 80 miles of pipeline in Washington state on Tuesday, replacing most of the capacity served by 268 miles of existing pipeline.  Additional compression capability will also be installed at two compressor stations.

Source: NGI's Daily Gas Price Index

http://intelligencepress.com/

http://biz.yahoo.com/prnews/050914/daw040.html?.v=26

For additional information on natural gas, see Highlights/Major Developments

### LNG-Filled Tanker Trunk Catches Fire in Reno, NV

A 10,000 gallon LNG-filled tanker truck ignited just before 11 am on September 14 forcing a 2-mile closure of U.S. Interstate 80 and evacuation of homes and businesses in the area.  By 2:30 the fire had burned itself out, and the highway was reopened.

Source: NGI's Daily Gas Price Index 
http://intelligencepress.com/

http://www.signonsandiego.com/news/nation/20050914-1526-nv-gasleak3rdld-writethru.html

### Prank Results in Evacuation Near Gas Pipeline in Los Angeles Area

A briefcase atop a natural gas pipeline disrupted a nearby school and led to an evacuation of nearby homes.  Once Southern California Gas Company shut down and vented the pipe.  It was discovered that the case was empty; its placement, apparently a prank.

http://pro.energycentral.com/professional/news/gas/news_article.cfm?id=5947682

FERC, Coast Guard To Review Northern Star’s Oregon LNG Proposal

The proposed Bradwood Landing LNG terminal to be developed by Northern Star in Clatsop County, Oregon will be reviewed by the Federal Energy Regulatory Commission and the coast Guard.  The proposed terminal will have a capacity of 1 billion cubic feet of gas.

Oil Daily, September 15, 2005

Other News

Nothing to Report

Energy Prices

|  | Latest (09/15/05) | Week Ago | Year Ago |
| --- | --- | --- | --- |
| CRUDE OIL West Texas Intermediate US $/Barrel | 64.64 | 64.80 | 44.03 |
| NATURAL GAS Henry Hub $/Million Btu | 11.24 | 10.92 | 4.82 |

Source: Reuters

This Week in Petroleum from the Energy Information Administration (EIA)

http://tonto.eia.doe.gov/oog/info/twip/twip.asp

Updated on Wednesdays

Weekly Petroleum Status Report from EIA
http://www.eia.doe.gov/oil_gas/petroleum/data_publications/weekly_petroleum_status_report/wpsr.html

Updated after 1:00pm (Eastern time) on Wednesdays

Natural Gas Weekly Update from EIA

http://tonto.eia.doe.gov/oog/info/ngw/ngupdate.asp

Updated after 2:00 pm (Eastern time) on Thursdays

ENSEC threat awareness blog site from Energy Assurance

http://ensec.blogspot.com